Include the following information in the Code Compliance narrative. See DCSM sections 2.1 and 2.6 for additional details.

**Instructions:**

Indicate your response to each item in the checklist. Select ‘Yes’ if the checklist item has been completed in full. Select ‘No’ or ‘N/A’ if that item is not included or not required for the specific project. Explain why that item has not been included in the submittal.

|  |  |
| --- | --- |
| **RESPONSE** | **REQUIREMENTS** |
| Choose an item. | Describe the functions to be housed in the building and the applicable VCC Use Group classification(s). |
| Choose an item. | Provide an analysis of VCC and referenced standards (and NFPA 101, Life Safety Code, if applicable) requirements of all occupancies involved. Determine occupancy classifications and compute design occupant load, number of units of exit, and other requirements. Describe unusual or critical code requirements and indicate how such requirements will be met. |
| Choose an item. | State the VCC Building Construction Type as defined in the current VCC. Describe construction systems and materials proposed to achieve the construction type and fire resistance rating. |
| Choose an item. | Compute gross floor area in accord with DCSM sections 1.7.3.11 and 2.3.9. Show calculations used to derive the building efficiency ratio. Indicate gross floor areas on the drawings. |
| Choose an item. | Include a statement as to the types of thermal insulation to be provided, where the insulation is required, and the U-value or R-value for the various portions of the structure (roof, walls, floors, etc.). Describe all architectural energy conserving features to be incorporated. |
| Choose an item. | Describe design features to make the facility fully Accessible and compliant with the ADA Standards for Accessible Design, latest edition, and DCSM sections 1.2.3 and 1.2.4. |