Include the following information on the preliminary project drawings. See DCSM sections 2.3 and 2.5 for additional details on drawings.

**Instructions**:

Indicate your response to each item in the checklist. Select ‘Yes’ if the checklist item has been completed in full. Select ‘No’ or ‘N/A’ if that item is not included or not required for the specific project. Explain why that item has not been included in the submittal.

|  |  |
| --- | --- |
| **RESPONSE** | **REQUIREMENTS** |
| Choose an item. | Show occupancy category, live loads, snow loads, wind loads, and seismic criteria used for structural design per the VCC. |
| Choose an item. | Show design bearing/support capacity (e.g., soil bearing, pile capacity, and caisson capacity) for foundation system. |
| Choose an item. | Provide north arrow and scale: ⅛" = 1'-0" minimum. |
| Choose an item. | Provide the design lateral active and at-rest earth pressures, where applicable. |
| Choose an item. | Provide foundation plan indicating type and tentative sizes. |
| Choose an item. | Provide foundation details of improved bearing strata and other special requirements. |
| Choose an item. | Provide floor framing plans of each level. Indicate type of system and tentative member sizes/depths and column spacing. |
| Choose an item. | Provide roof framing plan. |
| Choose an item. | Provide typical section(s) of framing. Identify materials, thicknesses, and depths. |
| Choose an item. | Provide typical section(s) of floor system. |
| Choose an item. | Provide details of connections to existing buildings, if applicable. |
| Choose an item. | Identify elements of proposed lateral force resisting system. |