Include the following information in the Preliminary Basis of Design narrative. See DCSM sections 2.1 and 2.5 for additional details.

**Instructions**:

Indicate your response to each item in the checklist. Select ‘Yes’ if the checklist item has been completed in full. Select ‘No’ or ‘N/A’ if that item is not included or not required for the specific project. Explain why that item has not been included in the submittal.

|  |  |
| --- | --- |
| **RESPONSE** | **REQUIREMENTS** |
|  | **Central Heating Plants and Heating Plant Additions** |
| Choose an item. | Prepare an energy analysis in accordance with DCSM section 1.4.3 and submit an energy analysis summary. Describe criteria and assumptions in narrative. Describe purpose and justification of systems proposed. |
| Choose an item. | Describe environmental constraints such as applicable regulations, liquid wastes, gaseous emissions, treatments required, etc. |
| Choose an item. | Describe new boilers including rating, flow, temperature, pressure, and type. |
| Choose an item. | Describe control systems. |
| Choose an item. | Describe any new auxiliaries to be added and what source of power will be used for their operation. |