Include the following information in the Schematic Basis of Design narrative. See DCSM sections 2.1 and 2.4 for additional details.

**Instructions**:

Indicate your response to each item in the checklist. Select ‘Yes’ if the checklist item has been completed in full. Select ‘No’ or ‘N/A’ if that item is not included or not required for the specific project. Explain why that item has not been included in the submittal.

|  |  |
| --- | --- |
| **RESPONSE** | **REQUIREMENTS** |
| Choose an item. | Provide a description of not less than three different types of HVAC systems to be analyzed by life cycle cost and energy analysis in accord with DCSM section 1.4.3. |
| Choose an item. | Provide estimated heating and cooling loads. |
| Choose an item. | Provide a description of the fuel selected to be used. For new construction and for renovations where fuel sources are to be changed from current sources, confirm that fuel sources have been selected based on the lowest life cycle cost as determined by a life cycle cost and energy analysis in accord with DCSM section 1.4.3. |
| Choose an item. | Provide the results of the life cycle cost and energy analysis. |