Include the following information on the schematic project drawings. See DCSM sections 2.3 and 2.4 for additional details on drawings.

**Instructions**:

Indicate your response to each item in the checklist. Select ‘Yes’ if the checklist item has been completed in full. Select ‘No’ or ‘N/A’ if that item is not included or not required for the specific project. Explain why that item has not been included in the submittal.

|  |  |
| --- | --- |
| **RESPONSE** | **REQUIREMENTS** |
|  | **Floor Plans** |
| Choose an item. | Provide architectural floor plans of each floor showing space names, nominal room sizes, and circulation paths. |
| Choose an item. | Provide a structural plan of a typical supported floor framing scheme. Provide a typical section showing the proposed components of the floor system. |
| Choose an item. | Indicate orientation and approximate location of proposed roads, walks, and parking on a site plan. |
| Choose an item. | Indicate the rooms and spaces to be protected by any proposed fire suppression system (including clean agent) and the proposed locations of the major fire suppression system components. |
| Choose an item. | Provide any other information that is of value to the University and the A/E reviewing the project. |
|  | **Roof Plans** |
| Choose an item. | Provide an architectural roof plan showing roof slopes and drainage. |
|  | Building Cross Sections (Transverse and Longitudinal) |
| Choose an item. | Provide a longitudinal building section with floor-to-floor and floor-to-ceiling dimensions. |
| Choose an item. | Provide a transverse building section. |
|  | Exterior Elevations |
| Choose an item. | Provide exterior elevations. |