Include the following information in the Schematic Basis of Design narrative. See DCSM sections 2.1 and 2.5 for additional details.

**Instructions**:

Indicate your response to each item in the checklist. Select ‘Yes’ if the checklist item has been completed in full. Select ‘No’ or ‘N/A’ if that item is not included or not required for the specific project. Explain why that item has not been included in the submittal.

|  |  |
| --- | --- |
| **RESPONSE** | **REQUIREMENTS** |
| Choose an item. | Provide a general description of any proposed fire suppression systems (clean agent, chemical, etc.). |
| Choose an item. | Provide a general description of any proposed fire sprinkler systems. |
| Choose an item. | Identify applicable NFPA standard (cited by the VCC) which provides the minimum requirements for the design, installation, testing, inspection, approval, operation, and maintenance of the proposed fire sprinkler or fire suppression system. Indicate the water supply to the proposed building and whether or not a fire pump will be required. Calculations to support this position are desirable at this phase but are not required. |