Include the following information on the preliminary project drawings. See DCSM sections 2.4 and 2.6 for additional details on drawings.

**Instructions**:

Indicate your response to each item in the checklist. Select ‘Yes’ if the checklist item has been completed in full. Select ‘No’ or ‘N/A’ if that item is not included or not required for the specific project. Explain why that item has not been included in the submittal.

|  |  |
| --- | --- |
| **RESPONSE** | **REQUIREMENTS** |
| Choose an item. | Provide plans of each floor (with room numbers) noting fixture locations and types. Indicate routing of main distribution lines with tentative sizes. |
| Choose an item. | Provide riser diagrams for all piping systems. |
| Choose an item. | Provide location of water supply and distribution, sanitary sewer and drainage, storm sewer and drainage, and sprinkler services to the building. |
| Choose an item. | Provide plumbing fixture schedule. |
| Choose an item. | Provide locations, sizes, and types of water heaters, heat exchangers, storage tanks, flues, etc. |
| Choose an item. | Provide the fuel gas piping layout and connected load, if applicable. |