Include the following information on the preliminary project drawings. See DCSM sections 2.4 and 2.6 for additional details on drawings.

**Instructions**:

Indicate your response to each item in the checklist. Select ‘Yes’ if the checklist item has been completed in full. Select ‘No’ or ‘N/A’ if that item is not included or not required for the specific project. Explain why that item has not been included in the submittal.

|  |  |
| --- | --- |
| **RESPONSE** | **REQUIREMENTS** |
| Choose an item. | Confirm whether power and lighting plans have been combined in the submittal. If combined, confirm that the combined plan clearly conveys the required information. |
| Choose an item. | Provide lighting plans for each floor (with room numbers) showing approximate fixture location, type, and lighting level required in each room or space (in foot-candles). |
| Choose an item. | Provide power distribution plans. Show locations of incoming service, generators, and panelboards. Include generator annunciator panel and smoke control system panel as applicable. |
| Choose an item. | Show interface points for communications, fire alarm, EMCS, and other pertinent systems. |
| Choose an item. | Show proposed locations for receptacles, telephone outlets, and switches. |
| Choose an item. | Confirm that the utility company has been contacted during the development of the project design in order to determine the available fault current at the project site. |
| Choose an item. | Indicate the locations of the fire alarm system alarm-initiating and notification appliances. |
| Choose an item. | Indicate the locations of the fire alarm control and trouble-signaling equipment. |
| Choose an item. | Provide floor plans showing proposed locations for in-building emergency communications infrastructure. |