Include the following information on the preliminary project drawings. See DCSM sections 2.4 and 2.6 for additional details on drawings.

**Instructions**:

Indicate your response to each item in the checklist. Select ‘Yes’ if the checklist item has been completed in full. Select ‘No’ or ‘N/A’ if that item is not included or not required for the specific project. Explain why that item has not been included in the submittal.

|  |  |
| --- | --- |
| **RESPONSE** | **REQUIREMENTS** |
| Choose an item. | Provide project identification including project name, project code number, and appropriation act title. |
| Choose an item. | Provide the applicable version of the DCSM with the building code data. |
| Choose an item. | Describe activity or function(s) to be performed in the facility. |
| Choose an item. | List applicable building code (Part I or II, and which edition of the VUSBC) and any other major codes (including referenced documents) on which the design is based. |
| Choose an item. | Provide the part of the VUSBC (Part I VCC or Part II VEBC) on which the design is based. |
| Choose an item. | For designs based on Part II (VEBC), classify work as repairs, alterations (clarify Level  1 or Level 2), change of occupancy, addition, historic building, or moved building. |
| Choose an item. | List applicable Accessibility standards. |
| Choose an item. | Provide VCC Construction Type. |
| Choose an item. | Provide Use Group(s) per the VCC. For mixed-use occupancies, indicate which Use Groups are separated and non-separated. |
| Choose an item. | Provide a statement of compliance with VT CAC including the applicable version of the LEED checklist. |
| Choose an item. | State the maximum VCC occupancy for each level and the total for the building. |
| Choose an item. | Provide location and vicinity maps noted to show project location. |
| Choose an item. | Provide a tabulation of GSF per floor (new and renovated), total GSF (all floors — new and renovated), and total building volume. |
| Choose an item. | Provide a tabulation of the building area per the VCC definition (per story). |
| Choose an item. | Provide a tabulation of units. Provide the number of parking spaces including accessible units by type, auditorium seats, bedrooms, sleeping units, fixed assembly seats, etc. |
| Choose an item. | Provide a tabulation of the minimum required number of plumbing fixtures. Itemize by use group and gender. |
| Choose an item. | Provide design occupant load for each level and the total for the building. |
| Choose an item. | Provide design occupant loads in accord with the VCC for each room and space. |
| Choose an item. | Provide an index of drawings. |
| Choose an item. | Provide the uniform date of the completed design documents. |
| Choose an item. | Provide the delegated design list. |
| Choose an item. | Provide building efficiency ratio tabulation. |
| Choose an item. | Provide an Asbestos Disclosure Statement and a Lead Disclosure Statement. |
| Choose an item. | Provide a statement documenting whether the local emergency public safety personnel utilize public safety wireless communications. |