Include the following information on the preliminary project drawings. See DCSM sections 2.4 and 2.6 for additional details on drawings.

**Instructions**:

Indicate your response to each item in the checklist. Select ‘Yes’ if the checklist item has been completed in full. Select ‘No’ or ‘N/A’ if that item is not included or not required for the specific project. Explain why that item has not been included in the submittal.

|  |  |
| --- | --- |
| **RESPONSE** | **REQUIREMENTS** |
| Choose an item. | Show occupancy category, live loads, snow loads, wind loads, and seismic criteria used for structural design per the VCC. In the seismic criteria, also include the building height, Hn, and the fundamental period used, T. |
| Choose an item. | Show design bearing/support capacity (e.g., soil bearing, pile capacity, and caisson capacity) for foundation system. |
| Choose an item. | Provide north arrow and scale: ⅛" = 1'-0" minimum. |
| Choose an item. | Provide the design lateral active and at-rest earth pressures, where applicable. |
| Choose an item. | Provide foundation plan indicating type and tentative sizes. |
| Choose an item. | Provide foundation details of improved bearing strata and other special requirements. |
| Choose an item. | Provide floor framing plans of each level. Indicate type of system and tentative member sizes/depths and column spacing. |
| Choose an item. | Provide roof framing plan. |
| Choose an item. | Provide typical section(s) of framing. Identify materials, thicknesses, and depths. |
| Choose an item. | Provide typical section(s) of floor system. |
| Choose an item. | Provide details of connections to existing buildings, if applicable. |
| Choose an item. | Identify elements of proposed lateral force resisting system. |