Include the following information on the schematic project drawings. See DCSM sections 2.4 and 2.5 for additional details on drawings.

**Instructions**:

Indicate your response to each item in the checklist. Select ‘Yes’ if the checklist item has been completed in full. Select ‘No’ or ‘N/A’ if that item is not included or not required for the specific project. Explain why that item has not been included in the submittal.

|  |  |
| --- | --- |
| **RESPONSE** | **REQUIREMENTS** |
| Choose an item. | Indicate whether or not the building will be equipped with fire protection sprinkler system and/or fire detection/fire alarm systems. |
| Choose an item. | Provide design occupant load(s). Include the number of occupants to be accommodated in each space. Base the determination for the occupants on the use and function of the spaces. |
| Choose an item. | Indicate paths for means of egress, paths of exit access, travel distances to exits and common paths of travel. Indicate specific locations where access controls or security locking systems will be provided within means of egress paths. |
| Choose an item. | Identify projects that will have partial or phased occupancy. |
| Choose an item. | Indicate rating of all fire-resistance-rated assemblies, smoke barriers, and smoke partitions. Completely show the continuity of the rated assemblies using reference symbols. |