| Entry Identification |  |  |
| --- | --- | --- |
| Entry Date: | Nearest Street/Building: | Department: |
|  | Space Identification: |  |
| Entry Purpose: Inspect Diagnose Clean Maintain Construct Install Repair Other (specify): |  |  |

| Hazards |  |  |  |
| --- | --- | --- | --- |
| ##### Hazard Type | Present? | Elimination/Isolation/Control Method |  |
| Inwardly sloping walls/floor or inherent fall hazard? | Yes No | Secured temporary floor or ladder (D) Guardrail system in place (D) | Harness/lifeline/attendant required Scaffold with guardrails (D) |
| Dry material that can engulf or suffocate (grain, sand)? | Yes No | Valve blanked or blinded (D) Pipe misaligned (D) Pipe section removed (D) Line double blocked and bled (D) | Space drained/emptied and flushed (D) Ventilation method (LEV/forced) (A) No reasonable expectation for failure or leaks. Material does not terminate in space. (D) |
| Liquids/steam that could engulf or suffocate? | Yes No |  |  |
| Exposed or live electrical work? | Yes No | Locked/tagged out/new/not live (D) | Electrical Qualified Person performing work |
| Exposed mechanical hazards? | Yes No | Properly guarded (D) | Lockout N/A (troubleshoot/diagnose) |
| Pneumatic/hydraulic hazards? | Yes No | Secondary blocking or securing | Safe work practices will be followed |
| Gravity (ex. elevator pits/cars)? | Yes No | Technical expert oversight required | Appropriate PPE will be worn |
| Extreme temperatures (heat stress, cold stress, hot surfaces)? | Yes No | Adequate cool down period of space (D) Ventilation method selected below. (A) Insulation | Frequent breaks outside of space Use of cooling vests/equipment Use of thermal protective equipment |
| Existing or potential hazardous atmosphere, including welding/ cutting, painting, degreasing, chemicals, epoxies, asbestos, lead, etc.? | Yes No What? If yes, air monitoring is required at a minimum. | Natural/cross ventilation is adequate. Continuous forced air ventilation (A) Local exhaust ventilation (A) Air monitoring must be conducted Project oversight required (ex. asb/pb) | Air-purifying respiratory protection required. Air-supplying respiratory protection required - Contact EHSS for guidance. Hot Work Permit issued; safe work practices MSDS reviewed; safe work practices followed |

| Time: | Clean Air Test |  |  |  |  |  | Additional Information |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| O2 (19.5-23.5) |  |  |  |  |  |  | Contact Safety Office for air monitor. |  |
| LEL (<10%) |  |  |  |  |  |  | Name of Employee Air Monitoring |  |
| H2S (<10 ppm) |  |  |  |  |  |  |  |  |
| CO (<35 ppm) |  |  |  |  |  |  | Equipment name/ Next calib. due in: | days |
| NO2 (<1 ppm) |  |  |  |  |  |  |  |  |

Other Equipment

Means of communication: Voice Radio Sight Other:

Equipment: Non-sparking tools GFCI Tripod/wench Fire Extinguisher Temporary lighting Warning barrier Ladder

PPE required: Eye/face protection Gloves Hard hat Safety shoes Protective clothing Harness Hearing protection

Emergency Plan

Escape plan discussed Means of calling 911 on site Non-entry rescue equipment in place Rescue team notified/on stand-by In case of emergency, call 911 immediately, specify “confined space” emergency, and provide nearest street or building for location. Send someone out to meet the Fire Department. Notify supervisor and begin reassessment of the space. Notify EHS (231-2341).

For the purposes of this entry (check one of the boxes below):

No hazards exist or all hazards have been isolated/eliminated and the space is non-permit required.  (D)

The only hazard is atmospheric and will be controlled through continuous forced air ventilation and air monitoring.  (A)

There is a hazard(s) that cannot be isolated/eliminated/controlled and the space is permit-required.  Do not enter.  Contact EHSS for guidance.

| ## Authorizing Supervisor | ## Authorized/Trained Attendant (if required) |  |
| --- | --- | --- |
|  |  | N/A |
| Authorized/Trained Entrants |  |  |

| Comments/special instructions: |  |
| --- | --- |
| Entry terminated (date/time): | Supervisor signature: |