| ## Procedure Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Department: |  | Date Developed: |  | Developed By: |  |
| Machine/System: |  | Review Date |  | Review By: |  |
| Machine/System Location: |  |  |  |  |  |

- Notify Affected Employees about the purpose of service and maintenance of this equipment and inform them to not remove or bypass the lockout process or attempt to start the machine.

- Follow the manufacturer’s shutdown procedure.

- Isolate, lockout, and verify each energy source listed in the following table.

| Energy Source |  | Isolation |  | Lockout | Verify |
| --- | --- | --- | --- | --- | --- |
| Type | Magnitude | Device | Location | Device | Method |

- Isolate, lockout, release, and verify each stored energy source listed in the following table.

| Energy Source |  | Isolation |  | Lockout | Release Stored Energy | Verify |
| --- | --- | --- | --- | --- | --- | --- |
| Type | Magnitude | Device | Location | Device | Control Method | Method |

- If lockout cannot be performed or de-energization cannot be verified, notify your supervisor before continuing service or maintenance work.

- Conduct service and maintenance work.

- Once work is completed, notify Affected Employees, remove lockout devices, and follow manufacturer’s startup procedures.

| ## Persons Authorized to Use Procedure |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |