| ## Project Information |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location: |  |  |  |  |  | Date/Time: |  |  |
| Miss Utility Ticket Number: |  |  |  |  |  | Date/Time Cleared: |  |  |
| Excavation Depth: |  |  |  | Required Actions: |  |  |  |  |
|  | Less than 4 feet or personnel will not be entering |  |  | Contact Miss Utility only. Remainder of this assessment form does not need to be completed provided there are no additional hazards, such as potential cave-in, high traffic area, etc. |  |  |  |  |
|  | Between 4 and 20 feet |  |  | Continue completing this form. Keep on file. |  |  |  |  |
|  | >20 feet |  |  | Contact EHSS or RPE for special requirements. |  |  |  |  |
| ## Hazard |  |  |  | ## Specify Control Measure (N/A if Not Applicable) |  |  |  |  |
| Cave-in: any soil class |  |  |  | Trench Box (soil does not have to be classified) |  |  |  |  |
| Cave-in: assume Class C |  |  |  | Slope/bench 1 ½ H to 1 V (34º) |  |  |  |  |
| Cave-in: all other situations |  |  |  | Contact EHSS or Facilities Safety for guidance |  |  |  |  |
| Surface Encumbrances |  |  |  | N/A | Removed Supported |  |  |  |
| Underground Installations |  |  |  | N/A | Protected/supported Owner action required |  |  |  |
| Access/Egress required at 4’ |  |  |  | N/A | Ladder Ramp Stairs (within 25’) |  |  |  |
| Vehicular Traffic |  |  |  | N/A | Barricades Signs Flag person |  |  |  |
| Falling Loads |  |  |  | N/A | Personnel clear of equipment being loaded |  |  |  |
| Mobile Equipment |  |  |  | N/A | Barricade/stop log Signs/flags Signalman |  |  |  |
| Hazardous Atmosphere ____02, _____CO, _____H2S, _____LEL |  |  |  | N/A | Forced air ventilation Respiratory protection Continuous air monitoring required |  |  |  |
| Water Accumulation |  |  |  | N/A | Pump Safety harness with life line Diversion Drainage |  |  |  |
| Adjacent Structures |  |  |  | N/A | Shored Braced Underpinned RPE review |  |  |  |
| Loose Rock or Soil |  |  |  | N/A | Spoil piles at least 2’ from edge Scaling Protective barrier Benching Restraint device |  |  |  |
| Fall Protection |  |  |  | N/A | Barricades 6’ from edge Guardrails on walkways |  |  |  |
| Security (overnight) |  |  |  | N/A | Fencing/barricades Holes covered Warning signs Lighting |  |  |  |
| Personal Protective Eqpt. |  |  |  | N/A | Work boots Hard hat Safety glasses |  |  |  |
| Entry Authorization |  |  |  |  |  |  |  |  |
| Competent Person: |  |  |  |  |  |  |  |  |
| In case of emergency: |  |  | Dial 911 Dial 231-6411 (cell) Radio base station |  |  |  |  |  |

| Date/Time Weather | Inspection Results | Corrective Action(s) taken (describe): |
| --- | --- | --- |
|  | All conditions acceptable Hazardous condition detected (specify): | No corrective action(s) required at this time. Corrective action required (specify): |
|  | All conditions acceptable Hazardous condition detected (specify): | No corrective action(s) required at this time. Corrective action required (specify): |
|  | All conditions acceptable Hazardous condition detected (specify): | No corrective action(s) required at this time. Corrective action required (specify): |
|  | All conditions acceptable Hazardous condition detected (specify): | No corrective action(s) required at this time. Corrective action required (specify): |
|  | All conditions acceptable Hazardous condition detected (specify): | No corrective action(s) required at this time. Corrective action required (specify): |
|  | All conditions acceptable Hazardous condition detected (specify): | No corrective action(s) required at this time. Corrective action required (specify): |
|  | All conditions acceptable Hazardous condition detected (specify): | No corrective action(s) required at this time. Corrective action required (specify): |
|  | All conditions acceptable Hazardous condition detected (specify): | No corrective action(s) required at this time. Corrective action required (specify): |