Checklist for Demolition Projects

Site/Project Name: _________________________________________________

Address: ______________________________________________

Site Description (list number, types, & uses of buildings to be demolished): ______________________________________________________________________________________________________________________________________

Authorized personnel check box and Initial when complete.

| Yes No N/A | Task | Initial Complete |
| --- | --- | --- |
|  | Prior to initiating demolition activities has a demolition plan and engineering, asbestos, and lead surveys been completed by a registered Professional Engineer? |  |
|  | Has Electric service been shut off or otherwise controlled outside the building line before demolition is started? |  |
|  | Has Gas service been shut off, capped or otherwise controlled outside the building line before demolition is started? |  |
|  | Has Water/Sewer service been shut off, capped or otherwise controlled outside the building line before demolition is started? |  |
|  | Has CNS service been shut off or otherwise controlled outside the building line before demolition is started? |  |
|  | Ability to contact Emergency Services On Site. (911 / 231-6411) |  |
|  | Is substantial fencing and barricades in place, and appropriate signage posted if applicable? |  |
|  | Plan to address nuisance dust/fumes/noise for area. |  |
|  | Safety precautions and PPE, have been identified, reviewed and implemented. |  |